Tubelite Inc.		       						 	                           August 2, 2013

Corporate Offices:  3056 Walker Ridge Drive NW - Suite G, Walker, Michigan 49544				          P:  (800) 866-2227    Fax:  (877) 299-2414    Website:  www.tubeliteinc.com

Product Guide Specification

Specifier Note:  This product guide specification is written in accordance with the Construction Specifications Institute’s (CSI) current versions of MasterFormat, SectionFormat and PageFormat and as described in various Practice Guides.

Use this specification as the basis for developing a project specification.

Layout of Header/Footer is based on PageFormat, edit as necessary in compliance with project requirements.

Section must be carefully reviewed and edited by Architect/Design Professional to meet requirements of project and local building code.

Coordinate this section with Drawings and other specification sections; coordinate these numbers and titles with sections included for specific project.

Brackets [_____], and/or, <_____> and “or” are used to indicate when a selection is required.

Windows 2010 - Upon completion of section editing, you may turn-off “Specifier Notes” as follows; click on “File” then on “Options” then “Display” and remove check-mark for “Hidden text” in two locations.

SECTION 08 4313.10 IMPACT RESISTANT ALUMINUM-FRAMED STOREFRONT

E34000 IMPACT RESISTANT ALUMINUM-FRAMED STOREFRONT

Specifier Note:  This section covers Tubelite’s E44000 Series impact resistant storefront system. Consult with Tubelite for technical assistance in editing this section for the specific project requirements.

# - GENERAL

## SECTION INCLUDES

### Aluminum-framed storefronts, impact resistant.

### Swing doors.

Specifier Note:  Edit the following list of related requirements for the project, and coordinate for consistent use of section numbers and titles. List any other sections with work directly related to work of this section.

## RELATED REQUIREMENTS

### Section 05 1200 – Structural Steel Framing:  Steel attachment members.

### Section 05 5000 – Metal Fabrications:  Steel attachment devices.

### Section 07 2500 – Weather Barriers:  Perimeter air and moisture vapor seal between glazing system and adjacent construction.

### Section 07 9005 – Joint Sealers:  Perimeter sealant and back-up materials.

### Section 08 7100 – Door Hardware:  Hardware for swing doors.

### Section 08 8000 – Glazing:  Glass and glazing accessories.

Specifier Note:  Edit the following list of reference standards to only those being used for project.

## REFERENCE STANDARDS

### AAMA - American Architectural Manufacturers Association (www.aamanet.org)

#### AAMA CW-10 - Care and Handling of Architectural Aluminum from Shop to Site; 2012

#### AAMA 501.2 – Field Check of Metal Storefronts, Curtain Walls, and Sloped Glazing Systems for Water Leakage; American Architectural Manufacturers Association; 2009 (part of AAMA 501)

#### AAMA 609 and 610 - Cleaning and Maintenance Guide for Architecturally Finished Aluminum; 2009

#### AAMA 611 - Voluntary Standards for Anodized Architectural Aluminum; 2012

#### AAMA 2605 - Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels; 2013

### ASTM International (American Society for Testing and Materials; www.astm.org)

#### ASTM A36/A36M – Standard Specification for Carbon Structural Steel; 2008

#### ASTM A123/A123M - Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products; 2012

#### ASTM B117 - Standard Practice for Operating Salt Spray (Fog) Apparatus; 2011

#### ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes; 2012

#### ASTM D523 - Standard Test Method for Specular Gloss; 2008

#### ASTM D2244 – Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Color Coordinates; 2011

#### ASTM D2247 - Standard Practice for Testing Water Resistance of Coatings in 100% Relative Humidity; 2011

#### ASTM D4214 - Standard Test Methods for Evaluating the Degree of Chalking of Exterior Paint Films; 2007

#### ASTM E283 - Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen; 2004

#### ASTM E330 - Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference; 2010

#### ASTM E331 - Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference; 2009

#### ASTM E1886 - Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials; 2005

#### ASTM E1996 - Standard Specification for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Windborne Debris in Hurricanes; 2012

### The Society for Protective Coatings (www.sspc.org)

#### SSPC-Paint 20 - Zinc-Rich Primers (Type I, "Inorganic," and Type II, "Organic"); 2002

### TAS - Testing Application Standards; Florida Building Code, 2007

#### TAS 201 – Impact Test Procedures; 1994

#### TAS 202 – Criteria for Testing Impact and Non-Impact Resistant Building Envelope Components Using Uniform Static Air Pressure Loading; 1994

#### TAS 203 – Criteria for Testing Products Subject to Cyclic Wind Pressure Loading; 1994

### LEED – Leadership in Energy and Environmental Design

### NAAMM – National Association of Architectural Metal Manufacturers

## ADMINISTRATIVE REQUIREMENTS

### Coordinate with installation of other components that comprise the exterior enclosure.

Specifier Note:  Review Preinstallation Meeting information and confirm that this Work is extensive enough to justify this meeting and edit for project specific meeting requirements.

### Pre-installation Meeting:

#### Attendees:

##### Owner

##### Architect

##### General Contractor

##### Installer

##### Storefront manufacturer's representative

##### Structural support installers

##### Installers whose work interfaces with or affects storefronts including installers of doors and glazing

#### Agenda:

##### Review and finalize construction schedule.

##### Verify availability of materials, installer's personnel, equipment, and facilities needed to maintain schedule.

##### Review means and methods related to installation, including manufacturer's written instructions.

##### Examine support conditions for compliance with requirements, including alignment and attachment to structural members.

##### Review flashings, wall penetrations, openings, and condition of other construction that affects this Work.

##### Review temporary protection requirements for during and after installation of this Work.

Specifier Note:  Edit the following list of submittal requirements and provide only those required for project, and verify section number and title for Administrative Requirements.

## SUBMITTALS

### See Section 01 3000 – Administrative Requirements, for submittal procedures.

### Product Data:  Submit for each component within assembly, including material descriptions, component profiles, finishes, anchorage and fasteners, glazing, and internal drainage.

### Shop Drawings:  Submit system dimensions, framed opening requirements and tolerances, affected related Work, expansion and contraction joint location and details, and field welding required.

#### Include scaled shop drawings showing detailed relationships with glazing, flashing, internal drainage, joinery, and provisions for thermal expansion.

### Design Data:  Submit framing member structural and physical characteristics, [engineering calculations], and [dimensional limitations].

### Samples:  Submit [two] or [<___>] framing member samples [3 inch long] illustrating aluminum surface finish as indicated.

Specifier Note:  Edit the following two paragraphs for copy of certificate and field testing reports as required under Performance Requirements article to substantiate that product installation complies with project requirements.

Specifier Note:  Submit copy of warranty to provide Architect and/or Owner the opportunity to verify warranty coverage complies with necessary requirements.

### Warranty:  Submit manufacturer warranty and ensure forms have been completed in Owner's name and registered with manufacturer.

Specifier Note:  Review Sustainable Design information or LEED requirements and coordinate with other Division 01 sustainable or LEED requirements for project.

### [Sustainable Design Submittals] or [LEED Reports]:

#### Submit documentation from manufacturer for amounts of pre-consumer and post-consumer recycled content for products specified, and include statement indicating costs of materials having recycled content.

## QUALITY ASSURANCE

### Manufacturer Qualifications:  Company specializing in manufacturing products specified in this section with at least [three] or [<___>] years of [documented] experience.

### Designer Qualifications:  Design structural support framing components under direct supervision of a Professional Structural Engineer experienced in design of this Work and licensed in the State that the Project is located.

### Installer:  Company specializing in performing work of this section and approved by manufacturer with at least [three] or [<___>] years of [documented] experience.

### Source Limitations:  Obtain each component of storefront and entrance systems from single source and from single manufacturer.

## DELIVERY, STORAGE, AND HANDLING

### Handle aluminum products of this section in accordance with AAMA CW-10.

### Protect finished aluminum surfaces with [wrapping] [strippable coating] or [<___>].

#### Do not use adhesive papers or sprayed coatings that bond to aluminum when exposed to sunlight or weather.

#### Remove protective covering from aluminum framing prior to installation.

## FIELD CONDITIONS

### Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit assembly of this Work to be performed according to manufacturer's installation instructions and warranty requirements.

### Field Measurements:  Verify locations of structural members and wall opening dimensions by field measurements before fabrication of storefront framing and indicate measurements on Shop Drawings.

#### Coordinate with construction schedule.

Specifier Note:  Edit this article if dry glazing methods are being used for project.

### Do not install sealants when ambient temperature is less than [40 degrees F] or [<___> degrees F]. Maintain this minimum temperature during and for at least [48 hours] or [<___>] hours after installation.

Specifier Note:  Edit the following warranty requirements and provide only those required for project, and verify section number and title for Closeout Submittals.

When warranties are required, verify with Owner's counsel that warranties stated under this article are not less than remedies available to Owner under prevailing local laws.

Verify the length of available warranties on the actual finish being specified.

## WARRANTY

### Refer to Section 01 7800 - Closeout Submittals, for additional warranty requirements.

### System Warranty:  [Manufacturer] or [Installer] agrees to repair or replace components of aluminum-framed storefronts that do not comply with requirements or that fail in materials or workmanship within specified warranty period.

#### Failures include, but are not limited to, the following:

##### Structural failures including, but not limited to, excessive deflection of framing members.

##### Noise or vibration created by wind and thermal and structural movements.

##### Water penetration through fixed glazing and framing areas beyond amount allowed by performance criteria test standards as indicated.

##### Failure of operating components.

#### Warranty Period:  [Two] [Five] [Ten] or [<Insert number>] years from date of Substantial Completion.

### Finish Warranty:  Manufacturer agrees to repair finishes or replace aluminum that shows evidence of deterioration of factory-applied finishes within specified warranty period.

Specifier Note:  Edit the period of warranty coverage, in compliance with project finish requirements.

AAMA 2605, 70 percent flouropolymer PVDF finish, is intended to represent a maximum 20 years of performance.

AAMA 611, Class 1 natural anodized finish, is intended to represent a maximum 10 years of performance. .

#### Warranty Period:  [Five] [Ten] [Twenty] or [<Insert number>] years from date of Substantial Completion.

Specifier Note:  Select from the following two finish types in compliance with project finish requirements.

#### Superior Organic Coating:  In accordance with AAMA 2605 test procedures for 70 percent PVDF resin on aluminum storefront framing.

##### Fading, Loss of Color Retention:  Minimum loss of 5 Delta E units (Hunter) in accordance with ASTM D2244.

##### Chalking, Chalky White Powder on Aluminum Surfaces:  Chalking minimum of No. 8 for colors or minimum of No. 6 for white in accordance with ASTM D4214.

##### Loss of Adhesion:  Loss of 10 percent due to cracking, checking or peeling, or failure to adhere to bare metal.

##### Gloss Retention:  Minimum of 50 percent in accordance with ASTM D523.

##### Salt Spray, Accelerated:  At least 4,000 hours in accordance with ASTM B117.

##### Humidity Testing, Accelerated:  At least 4,000 hours in accordance with ASTM D2247.

#### Anodized Coating:  In accordance with AAMA 611 standards for [Class 1] or [Class II-Clear] on aluminum storefront framing.

##### Loss of Adhesion:  Resists cracking, crazing, flaking, and blistering when forming and welding completed prior to finishing; post forming or welding voids warranty.

##### Fading, Loss of Color Retention:  Minimum loss of 5 Delta E units (Hunter) in accordance with ASTM D2244.

##### Chalking, Chalky White Powder on Aluminum Surface:  Chalking minimum of No. 8 in accordance with ASTM D4214.

##### Salt Spray, Accelerated:  At least 3,000 hours (Class I) and 1,000 hours (Class II) in accordance with ASTM B117.

# - PRODUCTS

## MANUFACTURER

### Impact Resistant Aluminum-Framed Storefront:

#### Tubelite Inc.:  E34000 Series - Impact Resistant Aluminum-Framed Storefront

##### Address:  3056 Walker Ridge Drive NW - Suite G, Walker, Michigan 49544

##### Phone:  (800) 866-2227

##### Fax:  (877) 299-2414

##### Website:  www.tubeliteinc.com

Specifier Note:  Tubelite’s E44000 Series Framing is designed and engineered for use on first floor, single-span applications in coastal areas susceptible to hurricane force winds.

## IMPACT RESISTANT ALUMINUM-FRAMED STOREFRONT

### Impact Resistant Aluminum-Framed Storefront:  Factory fabricated, factory finished aluminum screw-spline non thermal framing members with infill, and related flashings, anchorage and attachment devices.

#### Shop or field assembly.

#### Glazing Rabbet:  Allows for 1 5/16 inch thick glazing panel.

#### Glazing Position:  Center of frame.

#### Mullion Dimensions:  2-1/2 by 5 inch deep.

Specifier Note:  Edit the following for finish in compliance with project requirements.

High performance clear and color anodized coatings are based on AAMA 611, Class 1or Class II-Clear finish.

Superior performance organic painted coating is based on AAMA 2605 with 70 percent PVDF resin finish.

### Finish:  [High performance clear anodized coating] [High performance color anodized coating] or [Superior performance organic coating].

#### Factory finish surfaces exposed in completed assemblies.

#### Touch-up surfaces cut during fabrication so that no natural aluminum is visible in completed assemblies, including joint edges.

#### Coat concealed metal surfaces that will be in contact with cementitious materials or dissimilar metals with bituminous paint.

Specifier Note:  Select color from one of the following two options in compliance with project requirements.

### Anodized Color:  [Clear] [Champagne] [Medium Bronze] [Light Bronze] [Dark Bronze] [Extra dark Bronze] [Black] [Copper] [As scheduled] or [As selected by Architect from manufacturer’s standard line of colors].

### Painted Color:  [<___>] [As scheduled] or [As selected by Architect from manufacturer’s standard line of colors].

## COMPONENTS

Specifier Note:  Maximum width of glazing is 9/16 inch; select glazing in compliance with project requirements.

### Glass:  Refer to Section 08 8000.

#### Laminated Glass:  1 5/16 inch thick with clear colored [2.28 mm thick Butacite® B56 PVB by Dupont™] or [2.28 mm thick SentryGlas® by Dupont™] or [1.91 mm thick Vanceva® Storm interlayer by Solutia].

Specifier Note:  Following glazed aluminum swing doors are blast tested and may be appropriate for use with impact resistant storefront framing, select swing doors in compliance with project requirements.

### Swing Doors:  Medium stile, glazed aluminum, minimal hazard tested in accordance with ASTM E1886 and ASTM E1996.

#### Thickness:  1-3/4 inch.

#### Top and Vertical Rails:  4 inch wide.

#### Bottom Rail:  10 inch wide.

#### Glazing Stops:  Square.

#### Glass: 1-1/16 inch thick laminated with clear colored [2.28 mm thick Butacite® B56 PVB by Dupont™] or [2.28 mm thick SentryGlas® by Dupont™] or [1.91 mm thick Vanceva® Storm interlayer by Solutia]

#### Product; ForceFront Storm Medium Stile Door by Tubelite Inc.

Specifier Note:  Edit the following Performance Requirements in compliance with project requirements.

## PERFORMANCE CRITERIA

### Impact Resistant Aluminum-Framed Storefront Assemblies:  Comply with performance requirements without failure due to defective manufacturing, fabrication, installation, or other construction defects.

### Wind Loads:  Design and size components to withstand the specified load requirements without damage or permanent set, when tested in accordance with ASTM E330 and TAS 202, using loads 1.5 times the design wind loads and 10 second duration of maximum load.

### Air Infiltration:  Not to exceed 0.06 cfm per sf of wall area when tested at 6.24 psf (50 mph) pressure in accordance with ASTM E283 and TAS 202.

### Water Penetration, Static:  Pass water penetration test under static pressure when tested in accordance with ASTM E331 and TAS 202 at a differential of 15 percent of inward acting design load, with 15 psf pressure differences for at least 15 minutes with 5 gal per sf per hour of water applied.

### Structural:  Provide systems tested in accordance with ASTM E330 and TAS 202 and certified to be without permanent deformation or failure of structural members based on maximum allowable deflection of L/175 of span, 3/4 inch maximum, at the following pressures:

#### [+70 maximum], [-61 maximum] psf for dry glazed Sentry Glas®.

#### [+70 maximum], [-68 maximum] psf for wet glazed Vanceva® Storm and Sentry Glas®.

#### [+50 maximum], [-50 maximum] psf for wet glazed Butacite® B56 PVB.

### Impact Resistance:  Comply with ASTM E1886 and ASTM E1996 test methods and performance requirements of Florida Building Code test protocols TAS-201, TAS-202 and TAS-203.

#### Impact Resistance:

##### Large-Missile Impact: For aluminum-framed systems located within 30 feet (9.1m) of grade.

##### Small-Missile Impact: For aluminum-framed systems located more than 30 feet (9.1m) above grade.

#### Design Pressure:  [+70 maximum], [-61 maximum] psf for dry glazed Sentry Glas®.

#### [+70 maximum], [-68 maximum] psf for wet glazed Vanceva® Storm and Sentry Glas®.

#### [+50 maximum], [-50 maximum] psf for wet glazed Butacite® B56 PVB

Specifier Note:  Edit the following list of materials; provide information in compliance with project requirements.

## MATERIALS

### Extruded Aluminum:  Alloy 6063-T6 in accordance with ASTM B221, and extruded within commercial tolerances and free from defects that impair strength and/or durability.

#### Main Framing Sections:  At least 0.075 inch wall thickness.

#### Glazing Stop Moldings:  At least 0.060 inch wall thickness.

Specifier Note:  Edit the following paragraph for recycled content of framing as an option for LEED or another sustainable design requirement in compliance with project requirements.

#### Recycled Content:  For aluminum extrusions, except those required for doors and door frames, provide manufacturer’s product fabricated from aluminum with 70 percent or less recycled content.

##### Product:  EcoLuminum™ by Tubelite Inc.

### Structural Steel Sections:  ASTM A36/A36M; [galvanized in accordance with requirements of ASTM A123/A123M] or [shop primed]. Refer to Section 05 1200.

#### Where galvanizing is not compatible with alloy of component parts, apply heavy coating of epoxy paint where necessary to prevent galvanic action with dissimilar materials.

### Structural Supporting Anchors:  Refer to Section 05 1200.

### Glazing Gaskets:  Glazing is held in place with an exterior top load roll-in extruded elastomeric wedge and an interior wet glazed gasket for wet glazed applications and a push-in EPDM gasket for dry glazed applications.

### Fasteners:  [Stainless] or [Galvanized] steel.

### Inserts:  Provide galvanized steel or cast iron inserts of suitable design and adequate strength for condition of use.

### Exposed Flashings:   [0.032 inch] or [<___> inch] thick aluminum sheet; finish matching framing members.

### Concealed Flashings:  [0.018 inch] or [<___> inch] thick [galvanized steel] [stainless steel] or [aluminum] sheet.

### Perimeter Sealant:  Refer to Section 07 9005.

### Galvanizing Repair Paint:  High zinc content paint for over welds in galvanized steel, with dry film containing not less than 94 percent zinc dust by weight and in compliance with SSPC Paint 20.

### Bituminous Paint:  Cold applied asphalt mastic, containing no asbestos fibers.

## FABRICATION

### Ensure joints and corners are flush, hairline and weatherproof, accurately fitted and secured.

#### Prepare framework to receive anchors and hardware.

#### Conceal fasteners and attachments from view.

#### Reinforce framework as required for imposed loads.

### Construction:  Eliminate noises caused by wind and thermal movement, prevent vibration harmonics, and prevent "stack effect" in internal spaces.

### System Internal Drainage:  Drain to exterior by means of a weep drainage network any water entering joints, condensation occurring in glazing channel, and migrating moisture occurring within system.

#### Fabricate drainage system so weeps and flashings are integral to system and others are not required.

### Expansion/Contraction:  Provide for expansion and contraction within system components caused by cycling temperature range of 170 degrees F over 12 hour period without causing detrimental effect to system components, anchorages, and other building elements.

### Movement:  Allow for movement between storefront and adjacent construction, without damage to components or deterioration of seals.

### Perimeter Clearance:  Minimize space between framing members and adjacent construction while allowing expected movement.

### Air and Vapor Seal:  Maintain continuous air barrier and moisture vapor retarder throughout assembly, primarily in line with inside pane of glazing [and inner sheet of infill panel] and heel bead of glazing compound.

#### Refer to Section 07 2500.

## FINISHES

### Comply with NAAMM's - Metal Finishes Manual for Architectural and Metal Products, for recommendations of designating finishes.

Specifier Note:  Edit the following types of AAMA 2605 – PVDF aluminum finishes in compliance with project requirements.

### Superior Performance Organic Coating System: AAMA 2605 multiple coat, thermally cured polyvinylidene fluoride (PVDF) resin system.

#### Two-Coat Fluoropolymer:  AAMA 2605, fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pre-treat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' installation instructions.

#### Three-Coat Fluoropolymer:  AAMA 2605, fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pre-treat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' installation instructions.

#### Two-Coat Mica Fluoropolymer:  AAMA 2605, fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pre-treat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' installation instructions.

#### Four-Coat Fluoropolymer:  AAMA 2605, fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pre-treat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' installation instructions.

Specifier Note:  Edit the following types of AAMA 611, color or clear, Class I or Class II, anodized finishes in compliance with project requirements.

### Color Anodized Finish:  AAMA 611, Class I, AA-M10C21A44 electrolytically deposited colored anodic coating not less than 0.7 mils thick.

### Clear Anodized Finish:  AAMA 611, Class I, AA-M10C21A41 clear anodic coating not less than 0.7 mils thick.

### Clear Anodized Finish:  AAMA 611, Class II, AA-M10C21A31 clear anodic coating.

### Field Touch-Up Materials:  As recommended by coating manufacturer for field application.

# - EXECUTION

## VERIFICATION OF CONDITIONS

### Examine areas and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of this Work.

### Notify Contractor in writing, with a copy sent to Owner and Architect, of any conditions detrimental to proper and timely completion of this Work.

### Proceed with installation only after unsatisfactory conditions have been corrected.

### Start of this Work shall indicate acceptance of areas and conditions as satisfactory by the Installer.

## PREPARATION

### Coordinate and furnish anchors, concrete inserts, sleeves, anchor bolts, and other accessories to be embedded in concrete or masonry construction.

#### Coordinate delivery of these items to Project site.

## INSTALLATION

### Install storefront framing assemblies in accordance with manufacturer's installation instructions, reviewed product data, approved shop drawings, and as indicated on Drawings.

### Do not install damaged components.

### Attach to structure to permit sufficient adjustment to accommodate construction tolerances and other irregularities.

### Provide alignment attachments and shims to permanently fasten system to building structure.

### Align assembly plumb and level, free of warp or twist.  Maintain assembly dimensional tolerances, [aligning with adjacent work].

### Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration and to prevent impeding movement of moving joints.

### Install sill flashings with end dams; turn up ends and edges; seal to adjacent work to form water tight dam.

### Where fasteners penetrate sill flashings, make watertight by seating and sealing fastener heads to sill flashing.

### Coordinate attachment and seal of perimeter air and moisture vapor barrier materials.

#### Refer to section 07 2500.

### Pack fibrous insulation in shim spaces at perimeter of assembly to maintain continuity of thermal barrier.

### Install accessories with positive anchorage to building, weather tight mounting, provisions for thermal expansion, and coordinate installation with flashings and other components.

### Install hardware using templates provided.

#### Refer to Section 08 7100 for hardware installation requirements.

### Install glass in accordance with Section 08 8000, using glazing method required to achieve performance criteria.

### Install perimeter sealant in accordance with Section 07 9005.

### Touch-up minor damage to factory applied finish; replace components that cannot be satisfactorily repaired.

## TOLERANCES

### Maximum Variation from Plumb:  [0.06 inches] or [<___> inches] every 3 ft non-cumulative, or [1/16 inches] or [<___> inches] per 10 ft, whichever is least.

### Maximum Misalignment of Two Adjoining Members Abutting in Plane:  [1/32 inch] or [<___> inch].

## FIELD QUALITY CONTROL

Specifier Note:  Use following paragraph only if field inspection services will be provided by someone other than the storefront installer in compliance with project requirements.

### See Section 01 4000 - Quality Requirements, for independent testing and inspection requirements.  Inspection will monitor quality of installation and glazing.

Specifier Note:  Edit following paragraph to identify who shall perform tests and inspections in compliance with project requirements.

### Testing Agency:  [Owner will engage] or [Engage] a qualified independent testing agency to perform field tests and inspections.

Specifier Note:  Edit following paragraph to verify storefront system's resistance to water penetration in compliance with project requirements.

AAMA test is a simple "hose test" that any contractor can do, and cost of test will vary depending on size of area to be tested.

### Water-Spray Test:  After installation, test area of assembly [shown on Drawings] [as directed by Architect] or [<Insert area>] for water penetration in accordance with AAMA 501.2.

### Prepare test and inspection reports.

## ADJUSTING

### Adjust operating hardware for smooth operation.

## CLEANING

### Comply with AAMA 609 and 610 for methods, equipment, and materials to clean finished aluminum after installation and for subsequent periodic maintenance.

### Remove protective material such as non-adhesive papers, adhesive papers and strippable plastic films from pre-finished aluminum surfaces as soon as there is no longer a need for protection.

### Wash down surfaces with a solution of mild detergent in warm water, applied with soft, clean wiping cloths.

### Take care to remove dirt from corners, and wipe surfaces clean.

### Remove excess sealant from glass and aluminum by method acceptable to sealant manufacturer.

## PROTECTION

### Protect installed products from damage during subsequent construction.

Specifier Note:  Edit following paragraph when anodized finishes are not used, in compliance with project requirements.

### Protect anodized finishes from prolonged exposure to alkaline, such as lime in masonry mortar, or acidic and other corrosive materials.

END OF SECTION

# Comments

Is this current?